| Risk Assessment Procedural Requirements |  | System Document Control # EV-MS-RA- |
| --- | --- | --- |
|  |  | Revision: 000 |
|  |  | RA: 1000 |
|  |  | Original Assessment Date: 05/04/2026 |
|  |  | Last Review Date: 05/04/2026 |
|  |  | Next Review Date: 05/07/2026 |
|  |  | Activity Location: Saih Shuaib 3 Dubai Industrial City, Dubai, UAE |
| Responsible Leader: Reinhart Swart Responsible Member: Calo Lategan | Prepared by: Calo Lategan | Approved by: Johan Tredoux |
| Process: Water Tank Support Structure | Date: 05/04/2026 | Date: |
| Division: Site Services | Signature: | Signature: |

PPE requirements for the operation

| Safety Gears Required | Yes | No | Safety Equipment Required | Yes | No |
| --- | --- | --- | --- | --- | --- |
| Safety Helmet (Hard Hat) | √ |  | Safety Gloves – Cloth or leather | √ |  |
| Hearing Protection | AR |  | Safety Footwear – Boots | √ |  |
| Safety Glasses | √ |  | Dust Mask or Face Mask | √ |  |
| Coveralls | √ |  | Full Body Harness (Double Hook) > 1.8 meters | √ |  |
| High Visibility Vest – Orange for banksman and/or signallers | √ |  | Inertia Reel/Retractable (working on suspended, cantilever, or leading-edge structures; AR for other tasks as per RA) | √ |  |
| Life Jackets | N/A |  | Life Line | AR |  |

√ = Required, R = Recommended, AR = As Required, N/A = Not Applicable

Legal Notice: This Risk Assessment (RA) outlines the hazards, risk evaluations, and control measures for Temporary Support Gantry (TSG) and heavy-duty engineered scaffold structures at Al Laith Yard, DIC. This RA is valid only when approved by the Responsible Persons. Implementation of all  control measures remains the responsibility of the Yard/Project Manager and Supervisors, while the QHSE Department provides advisory and monitoring support only.

All works shall comply with applicable UAE legislation, Dubai Municipality and Trakhees EHS requirements, and, where applicable, ADOSH CoP 26 (Construction Safety) and OSHAD CoP 49 (Work at Height) as best practice. This RA does not replace statutory permits or approvals. All required Permits to Work (PTW) shall be obtained prior to commencement.

This document is a live Risk Assessment and shall be reviewed after any change in scope, method, location, or working conditions, after any incident or near miss, and at intervals not exceeding three (3) months. Where any change occurs, work shall be stopped immediately and the Management of Change  process shall be applied before resuming. All control measures shall be implemented in accordance with ISO 45001:2018 Clause 8.1.2, following the hierarchy of controls: Elimination → Substitution → Engineering → Administrative → PPE as the last line of defence.

LIKELIHOOD (L)

Risk Rating

RR 1 = 25-30 = Intolerable

RR 2 = 20-24 = High

RR 3 = 13-18 = Substantial

RR 4 = 11-12 = Moderate

RR 5 = 7-10 = Tolerable to Moderate

RR 6 = 1-6 = Tolerable

RISK MATRIX

Key to Risk Assessment: (L = LIKELIHOOD, S = SEVERITY, RR – RISK RATING)

| L | Likelihood | S | Severity | RR | Resultant |
| --- | --- | --- | --- | --- | --- |
| 5 | Likely to occur repeatedly. | 5 | Fatality / Permanent Disability. | 16 – 25 | Work may not proceed – consider alternative methods. |
| 4 | Likely to occur more than once. | 4 | Major Injury / Long term Absence. | 10 – 15 | Re – assess mitigation measures to reduce the risk. |
| 3 | Likely to occur. | 3 | LTI injury / Temporary Disability. | 6 – 9 | Work may proceed subject to implementation of mitigation measures, if no alternative available. |
| 2 | Unlikely to occur. | 2 | Injury requiring additional medical treatment. | 1 – 5 | Acceptable – Work may proceed. |
| 1 | Extremely unlikely to occur. | 1 | First Aid (e.g. Bruising, abrasion, etc.) |  |  |

Review frequency: every 3 months, and after any incident/near miss or significant change in scope/conditions.

| 1 | Pre-Task Verification, Permit Control & MoC | H.1 Unauthorised or untrained personnel assigned to the task H.2 Expired or invalid competency, licence, or medical fitness H.3 Use of incorrect or outdated MS, RA, drawings, or lift plan H.4 Required Permit to Work (PTW) not obtained or conditions not met H.5 Inadequate task planning or unclear work sequence H.6 Uncontrolled change in scope, method, location, loading, or staffing H.7 Failure to implement Management of Change (MoC) H.8 Poor communication of changes, interfaces, or hold points H.9 Incomplete inspection, tagging, training, or briefing records H.10 Non-compliance with UAE / Municipality / ADOSH requirements H.11 Temporary scaffold structures erected without approved design/drawings H.12 Work carried out in non-approved or undesignated areas H.13 Missing required permits, approvals, or NOCs H.14 Temporary load-bearing structures used without approved design drawings and structural calculations H.15 Ground bearing capacity not verified, including areas with underground services or weakened ground conditions H.16 Existing structures in use without engineering approval, SWL confirmation, or inspection H.17 Lack of electrical grounding/earthing for metal temporary structures | Unsafe work practices or incorrect erection Structural instability or collapse Falls from height or dropped objects Serious injury or fatality Risk to other yard users or visitors Legal non-compliance and operational disruption | Scaffolders / riggers / installers Plant operators Supervisors Yard personnel / other work teams Visitors (where applicable) | 5 | 4 | 20 | B.1 Only trained, competent, and authorised personnel shall be assigned; valid certification and medical fitness verified and recorded in the Training Matrix. B.2 Training matrix maintained and reviewed; refresher training provided as required (Manual Handling, WAH, Tools). B.3 Site induction and daily toolbox talk completed; MS/RA, drawings, lift plans, and sequence clearly briefed. B.4 Latest approved MS, RA, and drawings available at workface; superseded documents removed. B.5 All required PTWs obtained prior to work (General, Lifting, WAH, etc.). B.6 PTW conditions reviewed, complied with, and displayed at the work area. B.7 Supervisor to conduct pre-task briefing covering sequence, interfaces, exclusion zones, weather limits, and rescue plan. B.8 Any change in scope, method, load, location, or staffing → STOP WORK. B.9 Apply MoC: review/update MSRA, re-brief workforce, record attendance before restart. B.10 Daily Residual Risk Checklist completed at start and after any significant change. B.11 All works to comply with UAE regulations, ADOSH CoP 26, OSHAD CoP 49 (where WAH applies), and ISO 45001 requirements. B.12 Temporary structures shall only be erected with approved drawings and design calculations. B.13 Verify all permits, approvals, and NOCs prior to commencement. B.14 Work only within designated and approved yard areas. B.15 All load-bearing temporary structures shall only be erected and used based on approved design drawings and structural calculations confirming SWL. B.16 Ground bearing capacity shall be verified prior to erection, including consideration of dead loads, live loads, and load distribution. Areas with underground services, water pipelines, or previously affected ground shall be assessed and controlled. B.17 Existing structures shall be reviewed prior to use. Any structure without approved MSRA, design drawings, or SWL confirmation shall be RED TAGGED and removed from service until compliance is achieved. B.18 Where dismantling is not immediately feasible, a temporary risk assessment shall be conducted and additional control measures implemented until full approval is obtained. B.19 All metal temporary structures shall be electrically grounded using approved earthing cables. Grounding shall be verified prior to use and maintained throughout the structure lifecycle. | 5 | 1 | 5 | Project Manager Site Supervisor QHSE Officer | R.1 Stop work and make area safe if any non-compliance identified R.2 Suspend PTW until issue is rectified R.3 Re-inspect by competent person before restart R.4 Re-brief workforce and record attendance R.5 Escalate repeated issues to management R.6 Raise and close CAPA actions R.7 Stop work immediately if any structure is identified without design approval or SWL confirmation R.8 Isolate and RED TAG non-compliant structures R.9 Engage engineering team for verification and approval R.10 Reassess ground condition and implement load distribution measures R.11 Repair or install grounding system before use R.12 Re-brief workforce and update MSRA before restart |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Work Area Setup, Fencing, Barriers & Public Interface | H.1 Inadequate work area segregation H.2 Incorrect or insufficient installation of fencing/barriers H.3 Unauthorised access into work area H.4 Exposure to overhead work, lifting, or falling objects H.5 Poor segregation of pedestrian and vehicle routes H.6 Inadequate signage or warning notices H.7 SIMOPS (simultaneous operations) conflicts within yard H.8 Inadequate lighting for work activities H.9 Barriers displaced due to wind, impact, or interference H.10 Blocked emergency access or escape routes | Struck-by or crush injuries Falls from unprotected edges or openings Injury to yard personnel or visitors Vehicle and pedestrian collisions Work stoppage or regulatory action Reputational impact | Yard operatives Supervisors Other work teams Visitors Third parties (where applicable) | 5 | 4 | 20 | ### B.1 Work area clearly defined prior to start; suitable barriers installed to restrict unauthorised access. ### B.2 Fencing/barriers (Heras, hoarding, crowd barriers, etc.) installed securely and in line with yard layout requirements. ### B.3 Exclusion zones established for lifting, overhead works, scaffold erection/dismantling, and loading/unloading. ### B.4 Clear signage displayed at access points (e.g. “No Entry”, “Overhead Work”, “Authorised Personnel Only”). ### B.5 Pedestrian walkways and vehicle routes clearly defined and segregated. ### B.6 Yard Traffic Management controls implemented, including banksman support for reversing and lifting operations. ### B.7 Daily coordination of activities to avoid SIMOPS conflicts within the yard. ### B.8 Barriers and fencing inspected daily and after adverse conditions; defects rectified immediately. ### B.9 Emergency access, escape routes, and muster points kept clear at all times. ### B.10 Adequate lighting provided for low visibility or night works. ### B.11 Additional supervision or marshals provided where higher risk interface exists. ### B.12 Controls implemented in line with ISO 45001 hierarchy and ADOSH CoP 26 requirements. | 5 | 1 | 5 | Project Manager Site Supervisor Foreman | R.1 Stop work if barriers fail or unauthorised access occurs R.2 Reinstate and secure exclusion zones before restart R.3 Report and record incident/near miss R.4 Re-brief workforce during toolbox talk R.5 Escalate repeated coordination issues for re-planning |
| 3 | Driving, On-Site Vehicle Movement & Deliveries (Traffic Interface) | H.1 Unauthorised or incompetent driver/operator H.2 Reversing without banksman control H.3 Pedestrian–vehicle interface and blind spots H.4 Excessive speed or unsafe manoeuvring H.5 Poor ground conditions (uneven surface, soft ground, standing water) H.6 Collision with structures, plant, or overhead services H.7 Load shift or unsecured materials during transport H.8 Inadequate lighting during operations H.9 Vehicle mechanical failure H.10 Driver fatigue, distraction, or unsafe behaviour | Struck-by or crush injuries Serious injury or fatality Vehicle collision or overturning Damage to structures, plant, or materials Risk to yard personnel or visitors Environmental contamination (fuel/oil spill) | Drivers/operators Banksman Yard operatives Other work teams Visitors / third parties (where applicable) | 5 | 4 | 20 | B.1 Only trained, competent, and authorised drivers/operators permitted; valid licence and medical fitness verified. B.2 Daily pre-use vehicle inspections completed; defects reported and unsafe vehicles removed from service. B.3 Yard Traffic Management controls implemented, including defined routes, speed limits, and pedestrian segregation. B.4 Banksman required for reversing, blind spots, and congested areas; clear communication maintained (hand signals/radio). B.5 Seatbelts worn at all times; no unauthorised passengers. B.6 No mobile phone use while driving; zero tolerance for alcohol or drugs. B.7 Speed controlled within yard and reduced in work areas or near pedestrians. B.8 Loads secured and checked before movement; no overloading. B.9 Adequate lighting provided for low visibility or night operations. B.10 Ground conditions assessed before movement; avoid unstable or unverified surfaces. B.11 Exclusion zones maintained during deliveries, lifting, and offloading activities. B.12 All operations to comply with UAE regulations and ISO 45001 operational control requirements. | 5 | 1 | 5 | Project Manager Site Supervisor Driver Banksman | R.1 Stop work in case of unsafe driving, incident, or near miss R.2 Secure vehicle and isolate area R.3 Provide first aid and initiate emergency response if required R.4 Report and investigate incident R.5 Review and improve traffic management controls |
| 4 | Waste Handling, Storage & Disposal | H.1 Improper segregation of waste H.2 Handling of hazardous waste (oil, chemicals, contaminated materials) H.3 Spillages or leakage during handling or storage H.4 Exposure to harmful substances H.5 Use of unapproved or unlicensed waste carriers H.6 Missing or incomplete waste documentation H.7 Incorrect disposal causing environmental contamination H.8 Poor storage creating fire or health hazards | Environmental pollution Worker illness or injury Fire risk from flammable waste Legal non-compliance or fines Work suspension Reputational impact | Workers Waste handlers Supervisors Other yard personnel / third parties Environment | 3 | 4 | 12 | B.1 Identify and classify waste (hazardous / non-hazardous) prior to disposal. B.2 Segregate waste at source using clearly labelled containers. B.3 Store waste in designated areas; hazardous waste to be sealed and stored in bunded containers where required. B.4 Maintain good housekeeping to prevent accumulation of waste. B.5 Use only approved and licensed waste carriers; verify documentation prior to collection. B.6 Maintain waste records (type, quantity, source, storage location, disposal records). B.7 Obtain and file Waste Disposal Certificates for all disposals. B.8 Provide toolbox talks on waste handling and environmental controls. B.9 Spill kits to be available and maintained at storage and work areas. B.10 Strictly prohibit disposal into drains, soil, or unauthorised areas. B.11 Supervise waste handling, transfer, and loading activities. B.12 Comply with approved Waste Management Procedures, UAE environmental regulations, and ISO 45001 requirements. | 3 | 1 | 3 | Project Manager / Supervisor / QHSE Officer | R.1 Implement spill response (contain, isolate, clean-up using spill kits) R.2 Report environmental incidents immediately to QHSE R.3 Record incident and implement corrective actions (CAPA) R.4 Dispose contaminated materials as hazardous waste R.5 Review and update MSRA if required |
| 5 | Materials Handling & Offloading Using Plant (Forklift / Telehandler / HIAB / Tail-Lift / Winch) | H.1 Unauthorised or incompetent operator / banksman H.2 Failure of lifting accessories (slings, shackles, hooks) H.3 Plant instability due to poor ground conditions or incorrect set-up H.4 Load shift, falling load, or uncontrolled movement H.5 Persons entering lifting or exclusion zone H.6 Pinch or crush points during positioning or landing H.7 Falls from trailer or flatbed during loading/unloading H.8 Contact with overhead obstructions or nearby structures H.9 Adverse weather affecting lifting operations (wind, lightning) H.10 Failure to follow approved Lift Plan or Permit to Lift | Serious injury or fatality Crush injuries or amputations Plant overturning or instability Dropped or uncontrolled load Damage to structures, plant, or materials Risk to yard personnel or visitors | Plant operators Riggers / slingers Banksman Yard operatives Other work teams Visitors / third parties (where applicable) | 3 | 3 | 9 | B.1 Only trained, competent, and authorised operators, riggers, and banksman permitted; certification verified and recorded. B.2 Approved Lift Plan and Permit to Lift implemented prior to lifting operations (where required). B.3 Pre-use inspection of plant and lifting accessories carried out; defective equipment tagged and removed from service. B.4 Ground conditions assessed before set-up; plant positioned on stable ground with outriggers fully deployed on suitable mats where required. B.5 Exclusion zones established covering lifting radius and load path; controlled by a designated banksman. B.6 No personnel allowed under suspended loads; man-riding strictly prohibited. B.7 Trial lift (100–200 mm) conducted to confirm load stability and rigging. B.8 Tag lines used where required; hands kept clear of pinch points. B.9 Weather conditions monitored; lifting stopped during high winds, lightning, or unsafe conditions as per limits. B.10 Clear communication maintained between operator and banksman (single point of control). B.11 Safe access provided for loading/unloading; no jumping from trailers or flatbeds. B.12 All lifting operations to comply with UAE regulations, ADOSH CoP 26, and ISO 45001 operational control requirements. | 3 | 1 | 3 | Project Manager / Site Supervisor / Appointed Person (Lifting) / Plant Operator / Banksman | R.1 Stop lifting immediately if load becomes unstable or control is lost R.2 Secure load and isolate plant following incident or near miss R.3 Provide first aid and initiate emergency response if required R.4 Investigate incident and review Lift Plan before restart R.5 Quarantine and replace damaged lifting gear |
| 6 | Manual Handling | H.1 Lifting beyond individual capability H.2 Handling awkward, unbalanced, or oversized loads H.3 Repetitive lifting leading to fatigue H.4 Poor posture (bending, twisting, overreaching) H.5 Carrying loads on uneven or obstructed surfaces H.6 Pinch or crush points during handling or positioning H.7 Handling large items (decks, sheets, truss, timber) in windy conditions H.8 Slips or trips while carrying materials H.9 Poor coordination during team lifting | Musculoskeletal injuries (strains, sprains) Crush injuries to hands or feet Slips, trips, and falls Dropped materials causing injury Long-term occupational injury | Scaffolders Labourers Carpenters Installers Supervisors | 3 | 4 | 12 | B.1 Manual handling tasks assessed before lifting (weight, size, route, and risks). B.2 Mechanical aids used where practicable (forklift, telehandler, trolley, pallet truck, hoist). B.3 Team lifts used for heavy or awkward loads; one person assigned to coordinate. B.4 Correct lifting technique applied: load kept close to body, neutral spine maintained, avoid twisting. B.5 Route checked and cleared of obstructions before movement. B.6 Handling of large or light materials stopped during unsafe wind conditions. B.7 Suitable gloves worn to improve grip and protect hands. B.8 Safety footwear worn at all times. B.9 No manual handling from ladders or unstable platforms. B.10 Workers to report fatigue, strain, or unsafe conditions immediately. B.11 Tasks planned to minimise repetitive handling and reduce fatigue. B.12 Controls applied in line with ISO 45001 hierarchy (use mechanical aids where possible). | 3 | 1 | 3 | Site Supervisor / Foreman / Chargehand | R.1 Stop task immediately if strain, fatigue, or loss of control occurs R.2 Provide first aid where required R.3 Review task and introduce mechanical aids or additional manpower R.4 Record incident/near miss and brief during toolbox talk |
| 7 | Storage, Stacking & Laydown Control (Including Slab Loading / SWL / Stability) | H.1 Unstable stacking of scaffold materials, truss, decks, or timber H.2 Overloading of slabs, suspended decks, or scaffold structures H.3 Collapse of stacked materials H.4 Materials stored near edges creating fall or drop risk H.5 Poor segregation between laydown areas and access routes H.6 Uncontrolled rolling of tubes or round materials H.7 Trip hazards from loose fittings, banding, or packaging H.8 Wind impact on stored materials H.9 Manual handling strain during stacking or retrieval H.10 Unauthorised access into laydown areas | Crush injuries Injury from material collapse Dropped objects Structural overloading or failure Slips, trips, and falls Damage to materials or property | Scaffolders Labourers Supervisors Plant operators Other work teams Visitors / third parties (where applicable) | 4 | 4 | 16 | B.1 Laydown areas designated and prepared before delivery; ground to be firm, level, and suitable. B.2 Slab or deck loading capacity verified prior to storage; SWL not to be exceeded. B.3 Materials stacked in a stable and controlled manner; stack height limited to safe levels. B.4 Tubes and round materials chocked or secured to prevent rolling. B.5 Heavier materials stored at lower levels; lighter materials on top. B.6 Materials kept clear of edges, access routes, and walkways. B.7 Laydown areas segregated using barriers and signage to restrict unauthorised access. B.8 Fittings and small items stored in bins, pallets, or stillages. B.9 Good housekeeping maintained; waste, banding, and packaging removed regularly. B.10 Materials secured during adverse weather to prevent displacement. B.11 Supervisor to inspect storage and stacking conditions daily. B.12 Storage activities to comply with MSRA requirements, UAE regulations, and ISO 45001 controls. | 4 | 1 | 4 | Project Manager Site Supervisor Foreman | R.1 Stop work if unsafe or unstable stacking is identified R.2 Secure, re-stack, or remove materials before continuation R.3 Isolate and restrict access to unsafe laydown areas R.4 Report and investigate incidents or near misses R.5 Review stacking and storage controls during toolbox talk |
| 8 | Scaffold & Temporary Structures (Water Tank Support Structure) – Install / Alter / Inspect / Handover | H.1 Inadequate ground bearing or unstable foundation H.2 Incorrect installation of base plates or sole boards H.3 Missing or insufficient ties, bracing, ballast, or stabilisation H.4 Deviation from approved drawings or incorrect erection sequence H.5 Use of damaged or non-compliant materials H.6 Incomplete decking or unsecured boards/panels H.7 Missing or inadequate edge protection (guardrails / toe boards) H.8 Overloading beyond duty class or SWL H.9 Unauthorised alteration or removal of components H.10 Failure to inspect before use H.11 Missing or incorrect SWL / duty classification display H.12 Inadequate handover or Scafftag control | Structural instability or collapse Falls from height Dropped materials Serious injury or fatality Risk to other yard users or visitors Damage to structures or equipment Regulatory action or work stoppage | Scaffolders / installers Riggers Supervisors Other work teams Yard personnel Visitors / third parties (where applicable) | 5 | 4 | 20 | B.1 All scaffold and temporary structure works carried out by trained and competent scaffolders in accordance with approved drawings, design calculations, and manufacturer instructions. B.2 Ground conditions verified prior to erection; base plates and sole boards installed on firm, level surfaces. B.3 Structures erected in correct sequence, maintaining plumb, level, and stability at all times. B.4 Ties, bracing, rakers, ballast, and stabilisation installed strictly as per design; no removal without approval. B.5 Only compliant and compatible system components used; defective materials removed from service. B.6 Platforms fully decked and secured; gaps controlled. B.7 Edge protection (guardrails and toe boards) installed before platforms are used. B.8 Duty class / SWL defined, displayed, and communicated; overloading prohibited. B.9 Safe access provided (secured ladders or stair systems) as per design. B.10 No unauthorised modification; all changes controlled through Management of Change (MoC). B.11 Inspections carried out by competent person at key stages and upon completion. B.12 Structures not released for use until inspected and Green Scafftag displayed. B.13 Red tag applied to incomplete or unsafe structures; access physically restricted. B.14 Re-inspection conducted after adverse weather, impact, or modification. B.15 All works to comply with UAE regulations, ADOSH CoP 26, OSHAD CoP 49 (WAH), and ISO 45001 requirements. | 5 | 1 | 5 | Project Manager Site Supervisor Competent Scaffold Inspector QHSE Officer | R.1 Stop work immediately if instability or defect identified R.2 Secure area and prevent access R.3 Re-inspection by competent person before restart R.4 Report and investigate incident or near miss R.5 Quarantine and tag damaged materials “NOT FOR USE” R.6 Re-brief workforce prior to resuming work |
| 9 | Work at Height & Fall Prevention (Ladders / Stairs / Rescue Readiness) | H.1 Fall from unprotected edge or incomplete platform H.2 Unsafe or unsecured ladder access H.3 Missing or inadequate edge protection H.5 Failure of anchor point or fall arrest equipment H.6 Slips on wet or uneven platforms H.7 Removal of ties or components affecting stability H.8 Inadequate rescue planning for fall arrest H.9 Adverse weather affecting stability or footing H.10 Carrying materials while climbing ladders | Fall from height Serious injury or fatality Head injury or multiple trauma Structural instability Risk to others below | Scaffolders / installers operators Supervisors Other work teams Visitors / third parties (where applicable) | 5 | 4 | 20 | ### B.1 Work at height avoided where practicable; ground-level assembly prioritised. ### B.2 Collective protection installed first (guardrails, mid-rails, toe boards, full decking). ### B.3 Safe access provided via secured ladders or stair systems; ladders positioned correctly and extended above landing. ### B.4 Ladders inspected before use; maintain 3 points of contact; no carrying of loose materials while climbing. ### B.7 Fall arrest equipment inspected before use and connected only to certified anchor points. ### B.8 No tying off to guardrails or non-certified structures. ### B.9 Work stopped during unsafe weather conditions (wind, rain, lightning). ### B.10 Platforms kept clean, dry, and free from slip hazards. ### B.11 Rescue plan in place and briefed before work where fall arrest is used; equipment readily available. ### B.12 Incomplete or unsafe structures not accessed; controlled through tagging and physical restriction. ### B.13 All work at height activities to comply with OSHAD CoP 49 and ISO 45001 hierarchy of controls. | 5 | 1 | 5 | Project Manager Site Supervisor Foreman | R.1 Activate emergency response immediately in event of fall R.2 Implement rescue plan without delay where fall arrest is involved R.3 Secure area and suspend work R.4 Report and investigate incident R.5 Re-inspect structure, access, and equipment before restart |
| 10 | Scaffold & Structure Dismantling (Reverse Sequence / Red Tag / Controlled Lowering) | H.1 Incorrect dismantling sequence (not in reverse of erection/design) H.2 Premature removal of ties, bracing, or stability components H.3 Unstable or partially dismantled structures H.4 Falls from height during progressive dismantling H.5 Uncontrolled lowering of materials H.6 Dropped objects during dismantling H.7 Unauthorised access to partially dismantled structure H.8 Inadequate exclusion zone below workface H.9 Adverse weather affecting dismantling safety H.10 Poor communication between workface and ground personnel | Structural instability or collapse Falls from height Serious injury or fatality Crush injuries Risk to other yard users or visitors Damage to structures or property | Scaffolders / dismantling crew Ground workers Supervisors Other work teams Visitors / third parties (where applicable) | 5 | 4 | 20 | ### B.1 Dismantling carried out only by trained and competent scaffolders. ### B.2 Structure tagged Red “DO NOT USE” prior to dismantling; access physically restricted. ### B.3 Pre-dismantle inspection completed to confirm stability and safe condition. ### B.4 Dismantling carried out in strict reverse sequence of erection and approved method. ### B.5 Ties, bracing, and stability components maintained until safe removal as per sequence. ### B.6 Exclusion zone established and maintained below workface at all times. ### B.7 Materials lowered in a controlled manner (rope, chute, lifting gear or mechanical means); no throwing. ### B.8 Safe working platforms maintained as far as reasonably practicable during dismantling. ### B.9 Work stopped during unsafe weather conditions (wind, rain, lightning). ### B.10 Clear communication maintained between scaffolders and ground personnel. ### B.11 Any instability or deviation managed through STOP WORK and Management of Change (MoC). ### B.12 Works to comply with UAE regulations, ADOSH CoP 26, OSHAD CoP 49 (WAH), and ISO 45001 controls. | 5 | 1 | 5 | Project Manager / Site Supervisor / Foreman / Competent Scaffolder | R.1 Stop work immediately if instability or unsafe condition identified R.2 Secure area and prevent access R.3 Activate emergency response if collapse or fall occurs R.4 Re-inspect by competent person before restart R.5 Report and investigate incident or near miss R.6 Re-brief workforce before continuation |
| 11 | Use of Hand & Power Tools | H.1 Use of defective or uninspected tools H.2 Removal or bypassing of guards or safety devices H.3 Flying particles during cutting or grinding H.4 Electric shock from damaged cables or improper voltage use H.5 Entanglement with rotating parts H.6 Excessive dust or sparks generation H.7 Noise exposure H.8 Vibration from prolonged tool use H.9 Unsafe working position (overreaching / unstable footing) H.10 Trailing cables creating trip hazards | 1. Cuts and lacerations 2. Eye injuries 3. Electric shock or burns 4. Amputation or crush injury 5. Slips, trips and falls 6. Hearing damage 7. Respiratory irritation 8. Fire risk (where sparks contact combustible materials) | 1. Tool operators 2. Nearby operatives 3. Supervisors 4. Other contractors in vicinity | 4 | 3 | 12 | B.1 Only trained and competent personnel permitted to use power tools. B.2 Tools inspected before use. Defective tools tagged “Do Not Use” and removed from service. B.3 Guards and safety devices remain fitted and functional at all times. B.4 110V CTE or battery tools preferred. 230V tools are only used with transformers and RCD protection. B.5 Cables routed safely to prevent trip hazards or damage. B.6 Eye protection worn during cutting or grinding. B.7 Hearing protection worn where noise levels require it. B.8 Gloves suitable for task wear (not used where entanglement risk exists with rotating equipment). B.9 Workpiece secured before cutting or drilling. B.10 Sparks controlled and flammable materials removed from vicinity. B.11 Good housekeeping is maintained around the work area. B.12 Work stopped immediately if tool vibration, overheating or malfunction were observed. | 4 | 1 | 4 | Site Supervisor Foreman Tool User | R.1 Stop work and isolate tools if unsafe conditions are identified. R.2 First aid provided for minor injuries. R.3 Fire extinguisher available in areas where spark-producing tools are used. R.4 Incident or near miss reported and investigated. R.5 Replace damaged tools before restart. |
| 12 | Fuel Refuelling & Flammable Liquids (Fire + Spill + Environmental) | H.1 Refuelling near ignition sources H.2 Fuel spill during refuelling H.3 Overfilling of tanks or containers H.4 Improper storage of fuel or oils H.5 Fuel leakage from damaged containers H.6 Lack of spill control equipment H.7 Static discharge during refuelling H.8 Refuelling in public or unsegregated areas H.9 Inhalation of vapours in poorly ventilated areas H.10 Environmental contamination (soil / drainage system) | 1. Fire or explosion 2. Burns or serious injury 3. Environmental pollution 4. Slips due to spilled fuel 5. Regulatory fines or project suspension 6. Property damage | 1. Plant operators 2. Refuelling personnel 3. Site operatives 4. Public (where applicable) 5.Environment | 5 | 3 | 15 | B.1 Refuelling only carried out in designated areas. The engine switched off before refuelling. B.2 No smoking or ignition sources within the refueling zone. B.3 Spill kit and fire extinguisher available at refuelling location. B.4 Drip trays used during refuelling to prevent ground contamination. B.5 Fuel stored in approved, labelled containers within a bunded area (minimum 110% capacity of largest container). B.6 Containers inspected regularly for leaks or damage. B.7 Do not overfill tanks. Caps secured immediately after refuelling. B.8 Refuelling areas segregated from public and pedestrian routes. B.9 Spill response procedure followed: Stop – Contain – Protect drains – Notify – Clean – Record. B.10 Waste fuel or contaminated materials disposed of in accordance with site environmental procedure. B.11 Adequate ventilation ensured during indoor refuelling | 5 | 1 | 5 | Project Manager Site Supervisor Plant Operator HSE Officer | R.1 Immediate isolation of ignition sources in event of spill. R.2 Deploy spill kit and prevent fuel entering drainage systems. R.3 Fire extinguisher used if safe to do so. R.4 Emergency services are contacted if fire escalates. R.5 Incident reported and investigated. R.6 Environmental authority/client notified if required. |
| 13 | # Dropped Objects & Line-of-Fire (Overhead Work / Controlled Lowering / Exclusion Zones) | H.1 Tools or materials falling from height H.2 Uncontrolled lowering of scaffold components or materials H.3 Failure to establish or maintain exclusion zone H.4 Personnel standing beneath active workface H.5 Loose fittings or unsecured materials on platforms H.6 Throwing or dropping materials during dismantling H.7 Line-of-fire exposure during lifting or material movement H.8 Failure of lifting bags, ropes or gin wheels H.9 Displacement of materials due to wind H.10 Poor communication between workface and ground personnel | 1. Head injuries 2. Serious injury or fatality 3. Crush injuries 4. Public injury 5. Property damage 6. Regulatory action | 1. Scaffolders / installers 2. Ground workers 3. Plant operators 4. Other contractors 5. Visitors / public (where applicable) | 5 | 4 | 20 | B.1 Exclusion zone established beneath and around active workfaces. Maintained by a designated zone controller or banksman. B.2 No personnel permitted under suspended loads or active overhead work. B.3 Tools secured where practicable (tool lanyards). Loose materials not left unattended at height. B.4 Toe boards installed on working platforms where required. B.5 Materials lowered in a controlled manner using rope, lifting bag, gin wheel or mechanical means. No throwing or dropping. B.6 Lifting accessories inspected before use. SWL clearly marked. B.7 Clear communication maintained between workface and ground personnel. B.8 Work stopped during unsafe wind conditions that may cause material displacement. B.9 Good housekeeping maintained on all platforms. B.10 Supervisor monitors exclusion zone integrity throughout operation. | 5 | 1 | 5 | Project Manager Site Supervisor Foreman | R.1 Stop work immediately if dropped object incident or near miss occurs. R.2 Secure area and prevent access. R.3 Provide first aid or emergency response if required. R.4 Incident reported and investigated. R.5 Review exclusion zone and lowering controls before restart. |
| 14 | Adverse Weather & Wind Monitoring (Wind Log / Stop-Work Triggers) | H.1 High wind affecting scaffold or temporary structure stability H.2 “Sail effect” on sheeting, truss, banners, fabric covers or large panels H.3 Loss of control of suspended loads during lifting H.4 Slips on wet platforms due to rain H.5 Reduced visibility during rain, dust or storm conditions H.6 Lightning strike risk during external works H.7 Displacement of unsecured materials H.8 Water accumulation affecting ground bearing H.9 Structural movement due to sudden gusts H.10 Failure to monitor and record wind conditions | 1. Structural collapse or instability 2. Dropped materials 3. Crane overturning or uncontrolled load movement 4. Falls from height 5. Serious injury or fatality 6. Property damage 7. Project suspension | 1. Scaffolders / installers 2. Riggers / lifting crew 3. Plant operators 4. Supervisors 5. Other contractors 6. Public (where applicable) | 5 | 4 | 20 | B.1 Weather conditions checked before and during shift. Wind monitored using handheld anemometer or approved site system. B.2 Stop external works when sustained wind speed ≥ 9.72 m/s (≈ 35 km/h), or where project/design/OEM limit is stricter. B.3 Stop lifting operations when wind exceeds approved Lift Plan or manufacturer limits. B.4 Stop work immediately during lightning. Seek safe shelter. B.5 Fabric covers, sheeting and lightweight materials secured properly before leaving site. B.6 Wind log maintained and readings recorded at minimum hourly or more frequently during gusting conditions. B.7 Ground conditions reassessed after heavy rainfall before continuing works. B.8 Work at height suspended if rain or wind affects safe footing or stability. B.9 Supervisor confirms conditions safe before restart after weather hold. B.10 Any weather-related instability or damage → STOP WORK, inspect and re-tag before reuse. | 5 | 1 | 5 | Project Manager Site Supervisor Appointed Person (for lifting) | R.1 Immediate suspension of works during unsafe weather conditions. R.2 Secure incomplete structures and materials. R.3 Post-weather inspection conducted by a competent person before restart. R.4 Incident or near miss reported and investigated. R.5 Workforce re-briefed on weather controls before resuming activities. |
| 15 | Heat Stress / Hot Weather Exposure | H.1 Prolonged exposure to high temperature and humidity H.2 Dehydration due to inadequate fluid intake H.3 Heat exhaustion H.4 Heat stroke H.5 Fatigue leading to reduced concentration H.6 Reduced grip strength due to sweating H.7 Dizziness leading to falls from height H.8 Working in direct sunlight without shade H.9 Inadequate rest breaks H.10 Failure to follow site heat stress procedure | 1. Heat exhaustion 2. Heat stroke (medical emergency) 3. Collapse while working at height 4. Reduced judgement leading to accidents 5. Serious injury or fatality | 1. Scaffolders / installers 2. Labourers 3. Riggers 4. Plant operators 5. Supervisors 6. Other site personnel | 4 | 4 | 16 | ### B.1 Compliance with site Heat Stress Management Procedure and local authority requirements. ### B.2 Work scheduling adjusted during peak heat periods where practicable. ### B.3 Adequate supply of cool drinking water provided at the work area. ### B.4 Mandatory rest breaks implemented in shaded or cooled areas. ### B.5 Workers are encouraged to hydrate regularly (before feeling thirsty). ### B.6 Supervisors monitor the workforce for signs of heat stress. ### B.7 Light-coloured, breathable PPE worn where applicable. ### B.8 Rotational tasks implemented to reduce prolonged exposure. ### B.9 Toolbox talks conducted on heat stress awareness and early symptoms. ### B.10 Workers instructed to report symptoms immediately. | 4 | 1 | 4 | Project Manager Site Supervisor HSE Officer | R.1 Stop work immediately if heat illness symptoms are observed. R.2 Move the affected person to a shaded/cool area. R.3 Provide water and allow rest. R.4 Seek medical assistance if symptoms persist or worsen. R.5 Incident recorded and reviewed to adjust heat controls if required. |
| 16 | Night Work | H.1 Reduced visibility affecting safe working H.2 Inadequate lighting at workface or access routes H.3 Increased risk of slips, & falls H.4 Miscommunication due to poor visibility H.5 Fatigue affecting concentration and reaction time H.6 Increased vehicle and plant collision risk H.7 Difficulty identifying exclusion zones H.8 Public interface in low-light conditions H.9 Emergency response delay due to poor visibility H.10 Unauthorised access into poorly lit work areas | 1. Falls from height 2. Vehicle or plant collision 3. Dropped object incidents 4. Manual handling injuries 5. Serious injury or fatality 6. Public injury | 1. Scaffolders / installers 2. Plant operators 3. Supervisors 4. Banksman 5. Other contractors 6. Public (where applicable) | 4 | 4 | 16 | B.1 Adequate task lighting installed before work starts. Lighting positioned to eliminate shadows and glare. B.2 Access routes, ladders, stair towers and laydown areas fully illuminated. B.3 Exclusion zones clearly marked with reflective barriers and warning signage. B.4 Plant and vehicles fitted with working lights, reversing alarms and beacons. B.5 Banksman used for reversing and congested areas. B.6 Supervisor monitors fatigue levels. Adequate rest breaks provided. B.7 Night work authorised by Client/Main Contractor where required. B.8 Additional supervision provided for high-risk activities (WAH, lifting, dismantling). B.9 Public interface areas enhanced with additional barriers and marshals where required. B.10 Emergency routes and assembly points clearly illuminated. | 4 | 1 | 4 | Project Manager Site Supervisor Foreman | R.1 Stop work if lighting becomes inadequate. R.2 Restore lighting before restarting. R.3 Report near misses or visibility-related incidents immediately. R.4 Reassess work method if visibility impacts safety. R.5 Suspend night operations if risks cannot be adequately controlled. |
| 18 | Structural Stability, Load Control & Platform Integrity | H.1 Partial structural instability during erection due to incomplete bracing or sequencing H.2 Overloading of structure beyond Safe Working Load (SWL) H.3 Uneven load distribution across multiple supports/towers H.4 Beam misalignment or improper installation H.5 Plywood decking failure due to improper fixing or gaps H.6 Settlement or ground failure affecting structural stability | Structural collapse, falling objects, falls from height, serious injury or fatality | Scaffolders, supervisors, workers on platform, nearby personnel | 5 | 4 | 20 | B.1 Structures shall be erected in accordance with approved sequence and design drawings B.2 Bracing and stability elements shall be installed progressively during erection B.3 No incomplete or unsupported structure shall be left unattended B.4 SWL shall be strictly followed and clearly displayed on each structure B.5 No material storage or loading unless approved in design B.6 Load distribution shall be maintained evenly across supports B.7 Beam installation shall be supervised and verified before loading B.8 Decking shall be fully installed, secured, and inspected before access B.9 Ground bearing condition shall be verified and monitored throughout B.10 Supervisor shall inspect structure at each stage of erection | 5 | 1 | 5 | Project Manager / Site Supervisor / QHSE Officer | R.1 STOP WORK immediately if instability or overloading is observed R.2 Evacuate personnel from affected structure R.3 Secure area and establish exclusion zone R.4 Conduct inspection by competent person R.5 Reinstate structure only after corrective measures and approval R.6 Update MSRA and re-brief workforce |